## EHSUMFLYER
Electric Heater Performance Summary Test Reports

## EH - HEATERSUM-1
INTERNAL USE ONLY - DOES NOT PRINT
GENERAL FIELD CALC. AREA
ELECTRIC HEAT SUMMARY REPORT
PROJECT |  | EHC - Tallahassee Reno. & Add.
HEATER PERFORMANCE DATA | [15 empty] | AMP & VOLT TESTS
EQUIPMENT |  |  | DATA TYPE | CAPACITY (KW) | AIRFLOW (CFM) | STAGES | AMPS. |  |  | VOLTS | PHASES | EAT (°F) | LAT (°F) | ∆T (°F) |  | ACT. AVG. AMPS. | ACT. AVG. VOLTS | ACT. AMP IMBALANCE1 | ACT. VOLT IMBALANCE2 | AIR BTU |  | ELEC. BTU | % DIFFERENCE (ELEC. / AIR BTU)3
DH-XX |  |  | DESIGN |  | 1
ACTUAL
DH-8 |  |  | DESIGN |  | 1
ACTUAL
DH-9 |  |  | DESIGN |  | 1
ACTUAL
DH-10 |  |  | DESIGN |  | 1
ACTUAL
DH-14 |  |  | DESIGN |  | 1
ACTUAL
VAV-PW-01 |  |  | DESIGN |  | 240 | SCR | [5 empty] | 55 |  | -55
ACTUAL
VAV-PW-02 |  |  | DESIGN |  | 180 | SCR | [5 empty] | 55 |  | -55
ACTUAL
VAV-PW-03 |  |  | DESIGN | 2.5 | 260 | SCR | 20.8 |  |  | 120 | 1 | 55 | 85.4 | 30.4
ACTUAL
VAV-PW-04 |  |  | DESIGN | 2.5 | 260 | SCR | 20.8 |  |  | 120 | 1 | 55 | 85.4 | 30.4
ACTUAL
VAV-PW-05 |  |  | DESIGN |  | 240 | SCR | [5 empty] | 55 |  | -55
ACTUAL
VAV-PW-06 |  |  | DESIGN |  | 180 | SCR | [5 empty] | 55 |  | -55
ACTUAL
1. Amp imbalance may indicate problems with the motor or power supply.
| REMARKS | [14 empty] | 2. Volt imbalance may cause motors to overheat. Many solid-state motor controllers and inverters are sensitive to imbalanced voltage.
3. % Difference should be between .9 and 1. This is attributed to system loss through air exchange.
TEST DATE | [8 empty] | READINGS BY

## EH - HEATERSUM-2
INTERNAL USE ONLY - DOES NOT PRINT
GENERAL FIELD CALC. AREA
ELECTRIC HEAT SUMMARY REPORT
PROJECT |  | EHC - Tallahassee Reno. & Add.
HEATER PERFORMANCE DATA | [15 empty] | AMP & VOLT TESTS
EQUIPMENT |  |  | DATA TYPE | CAPACITY (KW) | AIRFLOW (CFM) | STAGES | AMPS. |  |  | VOLTS | PHASES | EAT (°F) | LAT (°F) | ∆T (°F) |  | ACT. AVG. AMPS. | ACT. AVG. VOLTS | ACT. AMP IMBALANCE1 | ACT. VOLT IMBALANCE2 | AIR BTU |  | ELEC. BTU | % DIFFERENCE (ELEC. / AIR BTU)3
VAV-PW-13 |  |  | DESIGN |  | 180 | SCR | [5 empty] | 55 |  | -55
ACTUAL
VAV-PW-14 |  |  | DESIGN |  | 210 | SCR | [5 empty] | 55 |  | -55
ACTUAL
VAV-PW-15 |  |  | DESIGN |  | 180 | SCR | [5 empty] | 55 |  | -55
ACTUAL
VAV-PW-23 |  |  | DESIGN | 2 | 200 | SCR | 16.7 |  |  | 120 | 1 | 55 | 86.6 | 31.6
ACTUAL
VAV-PW-24 |  |  | DESIGN | 1.5 | 120 | SCR | 12.5 |  |  | 120 | 1 | 55 | 94.5 | 39.5
ACTUAL
VAV-PW-07 |  |  | DESIGN |  | 230 | SCR | [5 empty] | 55 |  | -55
ACTUAL
VAV-PW-08 |  |  | DESIGN |  | 180 | SCR | [5 empty] | 55 |  | -55
ACTUAL
VAV-PW-16 |  |  | DESIGN |  | 180 | SCR | [5 empty] | 55 |  | -55
ACTUAL
VAV-PW-17 |  |  | DESIGN |  | 230 | SCR | [5 empty] | 55 |  | -55
ACTUAL
VAV-PW-25 |  |  | DESIGN | 4 | 360 | SCR | 33.3 |  |  | 120 | 1 | 55 | 90.1 | 35.1
ACTUAL
VAV-PW-29 |  |  | DESIGN |  | 720 | SCR | 22.2 |  |  | 208 | 3 | 55 |  | -55
ACTUAL
1. Amp imbalance may indicate problems with the motor or power supply.
| REMARKS | [14 empty] | 2. Volt imbalance may cause motors to overheat. Many solid-state motor controllers and inverters are sensitive to imbalanced voltage.
3. % Difference should be between .9 and 1. This is attributed to system loss through air exchange.
TEST DATE | [8 empty] | READINGS BY

## EH - HEATERSUM-3
INTERNAL USE ONLY - DOES NOT PRINT
GENERAL FIELD CALC. AREA
ELECTRIC HEAT SUMMARY REPORT
PROJECT |  | EHC - Tallahassee Reno. & Add.
HEATER PERFORMANCE DATA | [15 empty] | AMP & VOLT TESTS
EQUIPMENT |  |  | DATA TYPE | CAPACITY (KW) | AIRFLOW (CFM) | STAGES | AMPS. |  |  | VOLTS | PHASES | EAT (°F) | LAT (°F) | ∆T (°F) |  | ACT. AVG. AMPS. | ACT. AVG. VOLTS | ACT. AMP IMBALANCE1 | ACT. VOLT IMBALANCE2 | AIR BTU |  | ELEC. BTU | % DIFFERENCE (ELEC. / AIR BTU)3
VAV-PW-09 |  |  | DESIGN |  | 200 | SCR | [5 empty] | 55 |  | -55
ACTUAL
VAV-PW-10 |  |  | DESIGN |  | 170 | SCR | [5 empty] | 55 |  | -55
ACTUAL
VAV-PW-11 |  |  | DESIGN |  | 200 | SCR | [5 empty] | 55 |  | -55
ACTUAL
VAV-PW-12 |  |  | DESIGN |  | 170 | SCR | [5 empty] | 55 |  | -55
ACTUAL
VAV-PW-18 |  |  | DESIGN |  | 140 | SCR | [5 empty] | 55 |  | -55
ACTUAL
VAV-PW-19 |  |  | DESIGN |  | 180 | SCR | [5 empty] | 55 |  | -55
ACTUAL
VAV-PW-20 |  |  | DESIGN |  | 140 | SCR | [5 empty] | 55 |  | -55
ACTUAL
VAV-PW-21 |  |  | DESIGN |  | 230 | SCR | [5 empty] | 55 |  | -55
ACTUAL
VAV-PW-26 |  |  | DESIGN | 2.5 | 260 | SCR | 20.8 |  |  | 120 | 1 | 55 | 85.4 | 30.4
ACTUAL
VAV-PW-27 |  |  | DESIGN | 3.5 | 350 | SCR | 29.2 |  |  | 120 | 1 | 55 | 86.6 | 31.6
ACTUAL
VAV-PW-28 |  |  | DESIGN | 3 | 300 | SCR | 25 |  |  | 120 | 1 | 55 | 86.6 | 31.6
ACTUAL
1. Amp imbalance may indicate problems with the motor or power supply.
| REMARKS | [14 empty] | 2. Volt imbalance may cause motors to overheat. Many solid-state motor controllers and inverters are sensitive to imbalanced voltage.
3. % Difference should be between .9 and 1. This is attributed to system loss through air exchange.
TEST DATE | [8 empty] | READINGS BY